## recording notes
Gender | Age | fixation | T1 available | T1 acquired | EOG chans | runs | comments
M | 35 | good | yes | yes | 61+63 | 7

## preprocessing notes
best run (max displacement) | maxfiltered | anatomy segmented | ICA blink (avg over runs) | ICA cardiac (avg over runs) | BST bad channels | manual bad channels pre-MaxFilter | trials 2 reject | trials after rejection | comments
5 (1.5 mm) | yes | yes | 2 MAG + 2 GRAD | 1 MAG + 1 GRAD | x | 8 average over runs | 14 | 511
Manually selected bad channels before running MaxFiltering:
run 1 | run 2 | run 3 | run 4 | run 5 | run 6 | run 7
MEG0223 | MEG0223 | MEG0223 | MEG0223 | MEG0223 | MEG0223 | MEG0223
MEG0623 | MEG0532 | MEG0623 | MEG0532 | MEG0623 | MEG0532 | MEG0532
MEG0532 | MEG0623 | MEG0532 | MEG0623 | MEG0532 | MEG0623 | MEG0623
MEG1013 | MEG1013 | MEG1013 | MEG1013 | MEG1013 | MEG1013 | MEG1013
MEG1343 | MEG1343 | MEG1343 | MEG1522 | MEG1343 | MEG1522 | MEG1522
MEG1522 | MEG1522 | MEG1522 | MEG1343 | MEG1522 | MEG1343 | MEG1343
MEG2513 | MEG2513 | MEG2513 | MEG2513 | MEG2513 | MEG2513 | MEG2513
MEG0421 | MEG0421 | MEG0421 | MEG0421 | MEG0421 | MEG0421 | MEG0421